## Beyond Condition Report
Item | Photo Reference |  | Condition | Description | Element | Internal Or External | Room | Specific Location | Risk Likelihood | Risk Consequence | Calculated Risk | Action | Floor Or Level | Longitude | Latitude | Location
1 |  | IMG_6586.JPG | B | No apparent defects | General | External | NA | North Elevation | Rare | Insignificant | Low |  | NA | -27.3569 | 153.027 | https://www.google.com/maps/place/-27.3568999722,153.027008306/@-27.3568999722,153.027008306,20z
2 |  | IMG_6587.JPG | B | No apparent defects | General | External | NA | North Elevation | Rare | Insignificant | Low |  | NA | -27.3569 | 153.0269 | https://www.google.com/maps/place/-27.356875,153.026947222/@-27.356875,153.026947222,20z
3 |  | IMG_6588.JPG | B | No apparent defects | General | External | NA | North Elevation | Rare | Insignificant | Low |  | NA | -27.3568 | 153.0268 | https://www.google.com/maps/place/-27.3568166389,153.026780556/@-27.3568166389,153.026780556,20z
4 |  | IMG_6589.JPG | B | No apparent defects | General | External | NA | West Elevation | Rare | Insignificant | Low |  | NA | -27.3569 | 153.0267 | https://www.google.com/maps/place/-27.3569444444,153.026672222/@-27.3569444444,153.026672222,20z
5 |  | IMG_6590.JPG | B | No apparent defects | General | External | NA | West Elevation | Rare | Insignificant | Low |  | NA | -27.3574 | 153.0266 | https://www.google.com/maps/place/-27.3574361111,153.026611111/@-27.3574361111,153.026611111,20z
6 |  | IMG_6592.JPG | B | No apparent defects | General | External | NA | South Elevation | Rare | Insignificant | Low |  | NA | -27.3577 | 153.0267 | https://www.google.com/maps/place/-27.3577361111,153.026658306/@-27.3577361111,153.026658306,20z
7 |  | IMG_6594.JPG | B | No apparent defects | General | External | NA | East Elevation | Rare | Insignificant | Low |  | NA | -27.3575 | 153.027 | https://www.google.com/maps/place/-27.3574833333,153.027008306/@-27.3574833333,153.027008306,20z
8 |  | IMG_6595.JPG | B | No apparent defects | General | External | NA | South Elevation | Rare | Insignificant | Low |  | NA | -27.3575 | 153.0269 | https://www.google.com/maps/place/-27.3575277778,153.026916667/@-27.3575277778,153.026916667,20z
9 |  | IMG_6596.JPG | C | No dropped kerb for wheel chair access near entrance | General | External | NA | Main external entrance | Very likely | Minor | Medium | Upgrade (Minor) | NA | -27.3574 | 153.0269 | https://www.google.com/maps/place/-27.3574333056,153.026869417/@-27.3574333056,153.026869417,20z
10 |  | IMG_6597.JPG | B | 'Do not obstruct' signage advised | External Door | External | NA | Fire exit to south elevation | Unlikely | Serious | Medium | Upgrade (Minor) | NA | -27.3574 | 153.0268 | https://www.google.com/maps/place/-27.3573666667,153.026838861/@-27.3573666667,153.026838861,20z
11 |  | IMG_6599.JPG | B | Investigate additional/closer PWD parking space to main entrance | Vehicle Parking | External | NA | At end of car park row | Very likely | Minor | Medium | Upgrade (Minor) | NA | -27.3574 | 153.0271 | https://www.google.com/maps/place/-27.3574416389,153.0271/@-27.3574416389,153.0271,20z
12 |  | IMG_6600.JPG | B | Stormwater runoff from window shading discharging directly onto ground below causing staining. | Vehicle Parking | External | NA | Beneath all external window shades | Unlikely | Minor | Low | Clean | NA | -27.3574 | 153.0267 | https://www.google.com/maps/place/-27.3574416389,153.026688861/@-27.3574416389,153.026688861,20z
13 |  | IMG_6601.JPG | B | Stormwater runoff from window shading discharging directly onto ground below causing staining. | Vehicle Parking | External | NA | Beneath all external window shades | Unlikely | Minor | Low | Clean | NA | -27.3575 | 153.0267 | https://www.google.com/maps/place/-27.3574555278,153.026672222/@-27.3574555278,153.026672222,20z
14 |  | IMG_6602.JPG | B | No apparent defects, however RSD opens out onto bush and boundary therefore is currently rendered redundant to access/egress. | Roller Shutter Doors | External | NA | West elevation | Unlikely | Minor | Low |  | NA | -27.3574 | 153.0265 | https://www.google.com/maps/place/-27.3573888889,153.026549972/@-27.3573888889,153.026549972,20z
15 |  | IMG_6603.JPG | B | No apparent defects | Fixed Ladder | External | NA | West elevation | Rare | Catastrophic | High | Check/Test | NA | -27.3573 | 153.0266 | https://www.google.com/maps/place/-27.3572666667,153.02662775/@-27.3572666667,153.02662775,20z
16 |  | IMG_6604.JPG | B | No apparent defects | AC Other | External | NA | West elevation | Possible | Moderate | Medium | Preventative Maint. | NA | -27.3572 | 153.0266 | https://www.google.com/maps/place/-27.3572305278,153.026611111/@-27.3572305278,153.026611111,20z
17 |  | IMG_6605.JPG | B | No apparent defects | Roller Shutter Doors | External | NA | North elevation | Unlikely | Minor | Low |  | NA | -27.357 | 153.0267 | https://www.google.com/maps/place/-27.3569694167,153.026702778/@-27.3569694167,153.026702778,20z
18 |  | IMG_6605.JPG | B |  | Safety Bollards | External | NA | Throughout | Unlikely | Minor | Low |  | NA | -27.357 | 153.0267 | https://www.google.com/maps/place/-27.3569694167,153.026702778/@-27.3569694167,153.026702778,20z
19 |  | IMG_6606.JPG | B | No apparent defects | Vehicle Hardstanding | External | NA | Throughout | Unlikely | Minor | Low |  | NA | -27.357 | 153.0267 | https://www.google.com/maps/place/-27.3569722222,153.026719417/@-27.3569722222,153.026719417,20z
20 |  | IMG_6608.JPG | C | Vertical crack above roller shutter door opening | External Wall - Blockwork | External | NA | North Elevation | Unlikely | Minor | Low |  | NA | -27.357 | 153.0269 | https://www.google.com/maps/place/-27.3569972222,153.026899972/@-27.3569972222,153.026899972,20z
21 |  | IMG_6608.JPG | B | No apparent defects | Rainwater goods | External | NA | North Elevation | Unlikely | Minor | Low |  | NA | -27.357 | 153.0269 | https://www.google.com/maps/place/-27.3569972222,153.026899972/@-27.3569972222,153.026899972,20z
22 |  | IMG_6609.JPG | B | Staining to windows | Steel Windows | External | NA | North Elevation windows to toilets | Unlikely | Minor | Low | Clean | NA | -27.357 | 153.027 | https://www.google.com/maps/place/-27.3570221944,153.027008306/@-27.3570221944,153.027008306,20z
23 |  | IMG_6610.JPG | B | Minor impact damage to cladding at roller shutter door | External Wall - Colorbond Cladding | External | NA | Middle Roller shutter door to north elevation | Unlikely | Minor | Low | Repair | NA | -27.357 | 153.0269 | https://www.google.com/maps/place/-27.3570111111,153.026947222/@-27.3570111111,153.026947222,20z
24 |  | IMG_6611.JPG | B | Evidence of wear, tear and impact damage to hardstanding throughout. Fit for purpose. | Vehicle Hardstanding | Internal | Maintenance bays | Throughout | Unlikely | Minor | Low | Review | GF | -27.357 | 153.0269 | https://www.google.com/maps/place/-27.3570027778,153.026916667/@-27.3570027778,153.026916667,20z
25 |  | IMG_6612.JPG | B | Evidence of wear, tear and impact damage to hardstanding throughout. Fit for purpose. | Vehicle Hardstanding | Internal | Maintenance bays | Throughout | Unlikely | Minor | Low | Review | GF | -27.357 | 153.0269 | https://www.google.com/maps/place/-27.3570416667,153.026886111/@-27.3570416667,153.026886111,20z
26 |  | IMG_6613.JPG | B | Welfare facilities and storage area not included on plans provided by Suncorp. Update plans. | General | Internal | Maintenance Area Toilets | NE corner of premises | Unlikely | Minor | Low | Update | GF | -27.3571 | 153.0269 | https://www.google.com/maps/place/-27.3571138889,153.026886111/@-27.3571138889,153.026886111,20z
27 |  | IMG_6614.JPG | B | No apparent defects | Distribution Board | Internal | Maintenance Area | NE corner of premises | Possible | Serious | High | Check/Test | GF | -27.3571 | 153.0269 | https://www.google.com/maps/place/-27.3571027778,153.026916667/@-27.3571027778,153.026916667,20z
28 |  | IMG_6615.JPG | B | No apparent defects | Boiler | Internal | Maintenance Area | NE corner of premises, on top of welfare facilities | Possible | Serious | High | Preventative Maint. | GF | -27.357 | 153.0269 | https://www.google.com/maps/place/-27.3570471944,153.026886111/@-27.3570471944,153.026886111,20z
29 |  | IMG_6616.JPG | B | No apparent defects | Security Camera | Internal | Maintenance Area | NE corner of premises, mounted to welfare facilities | Unlikely | Minor | Low |  | GF | -27.357 | 153.0269 | https://www.google.com/maps/place/-27.3570166389,153.026869417/@-27.3570166389,153.026869417,20z
30 |  | IMG_6617.JPG | B | No apparent defects | PWD Toilet | Internal | Maintenance Area | NE corner of premises | Unlikely | Minor | Low |  | GF | -27.357 | 153.0269 | https://www.google.com/maps/place/-27.3569583333,153.026930528/@-27.3569583333,153.026930528,20z
31 |  | IMG_6618.JPG | B | No apparent defects | Shower | Internal | Maintenance Area | NE corner of premises | Unlikely | Minor | Low |  | GF | -27.357 | 153.0269 | https://www.google.com/maps/place/-27.3570166389,153.026947222/@-27.3570166389,153.026947222,20z
32 |  | IMG_6619.JPG | B | No apparent defects | Toilet | Internal | Maintenance Area | NE corner of premises | Unlikely | Minor | Low |  | GF | -27.357 | 153.027 | https://www.google.com/maps/place/-27.3569972222,153.026991667/@-27.3569972222,153.026991667,20z
33 |  | IMG_6620.JPG | B | No apparent defects | Toilet | Internal | Maintenance Area | NE corner of premises | Unlikely | Minor | Low |  | GF | -27.3571 | 153.0271 | https://www.google.com/maps/place/-27.357075,153.027083333/@-27.357075,153.027083333,20z
34 |  | IMG_6621.JPG | B | General housekeeping advised | General | Internal | Storage | NE corner of premises | Unlikely | Minor | Low |  | GF | -27.357 | 153.0271 | https://www.google.com/maps/place/-27.3570416667,153.027113861/@-27.3570416667,153.027113861,20z
35 |  | IMG_6622.JPG | B | No apparent defects | Vehicle bay stops | Internal | Storage | Throughout | Unlikely | Minor | Low |  | GF | -27.3571 | 153.0271 | https://www.google.com/maps/place/-27.3570666667,153.027130556/@-27.3570666667,153.027130556,20z
36 |  | IMG_6623.JPG | B | No apparent defects | Vehicle lining | Internal | Storage | Throughout | Unlikely | Minor | Low |  | GF | -27.3571 | 153.0271 | https://www.google.com/maps/place/-27.3570610833,153.0271/@-27.3570610833,153.0271,20z
37 |  | IMG_6624.JPG | B | No apparent defects | Tenancy separating wall | Internal | NA | To east elevation | Unlikely | Minor | Low |  | GF | -27.357 | 153.027 | https://www.google.com/maps/place/-27.3570471944,153.027038861/@-27.3570471944,153.027038861,20z
38 |  | IMG_6624.JPG | B |  | Cladding | Internal | NA | Throughout | Unlikely | Minor | Low |  | GF | -27.357 | 153.027 | https://www.google.com/maps/place/-27.3570471944,153.027038861/@-27.3570471944,153.027038861,20z
39 |  | IMG_6625.JPG | B | No apparent defects | Internal Wall | Internal | Offices | Throughout | Unlikely | Minor | Low |  | GF | -27.3572 | 153.0269 | https://www.google.com/maps/place/-27.357175,153.026930528/@-27.357175,153.026930528,20z
40 |  | IMG_6626.JPG | C | Minor hairline vertical crack | Internal Wall | Internal | Offices | Above north exit from offices in maintenance area | Unlikely | Minor | Low | Repair | GF | -27.3572 | 153.027 | https://www.google.com/maps/place/-27.3571888889,153.026961111/@-27.3571888889,153.026961111,20z
41 |  | IMG_6627.JPG | B | Fit for purpose | Movement joints | Internal | Offices | Above north exit from offices in maintenance area | Unlikely | Minor | Low | Repair | GF | -27.3572 | 153.027 | https://www.google.com/maps/place/-27.3571694167,153.026961111/@-27.3571694167,153.026961111,20z
42 |  | IMG_6628.JPG | B |  | General | Internal | Offices | Outside maintenance area | Unlikely | Minor | Low | Repair | GF | -27.3571 | 153.0268 | https://www.google.com/maps/place/-27.3571249722,153.026794417/@-27.3571249722,153.026794417,20z
43 |  | IMG_6628.JPG | B |  | Guardrails | Internal | NA | Throughout | Unlikely | Minor | Low |  | GF | -27.3571 | 153.0268 | https://www.google.com/maps/place/-27.3571249722,153.026794417/@-27.3571249722,153.026794417,20z
44 |  | IMG_6629.JPG | C | Minor hairline vertical crack | Internal Wall | Internal | Offices | Above north exit from offices in maintenance area | Unlikely | Minor | Low | Repair | GF | -27.3571 | 153.0268 | https://www.google.com/maps/place/-27.3571388611,153.026763861/@-27.3571388611,153.026763861,20z
45 |  | IMG_6630.JPG | B |  | General | Internal | Offices | Outside maintenance area | Unlikely | Minor | Low | Repair | GF | -27.3572 | 153.0267 | https://www.google.com/maps/place/-27.3572388611,153.026688861/@-27.3572388611,153.026688861,20z
46 |  | IMG_6631.JPG | B |  | General | Internal | Offices | Outside maintenance area | Unlikely | Minor | Low | Repair | GF | -27.3575 | 153.0268 | https://www.google.com/maps/place/-27.3574611111,153.026808333/@-27.3574611111,153.026808333,20z
47 |  | IMG_6633.JPG | B |  | Vehicle speed bump | Internal | Maintenance Bay | Main vehicle entrance | Unlikely | Minor | Low |  | GF | -27.3574 | 153.0268 | https://www.google.com/maps/place/-27.3574305278,153.026794417/@-27.3574305278,153.026794417,20z
48 |  | IMG_6634.JPG | B |  | Security Camera | Internal | Maintenance Bay | Main vehicle entrance | Unlikely | Minor | Low |  | GF | -27.3574 | 153.0268 | https://www.google.com/maps/place/-27.3574305278,153.026838861/@-27.3574305278,153.026838861,20z
49 |  | IMG_6634.JPG | B |  | Loudspeaker | Internal | Maintenance Bay | Main vehicle entrance | Unlikely | Minor | Low |  | GF | -27.3574 | 153.0268 | https://www.google.com/maps/place/-27.3574305278,153.026838861/@-27.3574305278,153.026838861,20z
50 |  | IMG_6636.JPG | B |  | Signage | Internal | Maintenance Bay | Main vehicle entrance | Unlikely | Minor | Low |  | GF | -27.3574 | 153.0268 | https://www.google.com/maps/place/-27.3573555278,153.026763861/@-27.3573555278,153.026763861,20z
51 |  | IMG_6637.JPG | B | Clean debris from grilles | Ventilation Grilles | Internal | Maintenance Bay | Main vehicle entrance | Unlikely | Minor | Low |  | GF | -27.3573 | 153.0267 | https://www.google.com/maps/place/-27.35727775,153.02675/@-27.35727775,153.02675,20z
52 |  | IMG_6638.JPG | B |  | GPOs | Internal | NA | Throughout | Unlikely | Minor | Low | Check/Test | GF | -27.3573 | 153.0267 | https://www.google.com/maps/place/-27.3572610833,153.026688861/@-27.3572610833,153.026688861,20z
53 |  | IMG_6639.JPG | C | Advise door to be contrasting colour to wall to assist occupants with poor sight. | External Door | Internal | Maintenance Bay | Throughout | Possible | Serious | High | Paint | GF | -27.3571 | 153.0267 | https://www.google.com/maps/place/-27.3570805556,153.026672222/@-27.3570805556,153.026672222,20z
54 |  | IMG_6639.JPG | C |  | Fire Hose Reels | Internal | Maintenance Bay | Throughout | Possible | Serious | High | Check/Test | GF | -27.3571 | 153.0267 | https://www.google.com/maps/place/-27.3570805556,153.026672222/@-27.3570805556,153.026672222,20z
55 |  | IMG_6639.JPG | C | Advise upgrade with running man exit signage | Exit Sign | Internal | Maintenance Bay | Throughout | Possible | Serious | High | Upgrade (Minor) | GF | -27.3571 | 153.0267 | https://www.google.com/maps/place/-27.3570805556,153.026672222/@-27.3570805556,153.026672222,20z
56 |  | IMG_6641.JPG | C | Check integrity and condition of roof sheets / fasteners prior to storm seasons | Roof Structure | Internal | NA | Throughout | Possible | Catastrophic | High | Check/Test | NA | -27.3571 | 153.0267 | https://www.google.com/maps/place/-27.3571388611,153.026702778/@-27.3571388611,153.026702778,20z
57 |  | IMG_6643.JPG | C |  | General | Internal | NA | Throughout | Rare | Minor | Low |  | GF | -27.3574 | 153.0267 | https://www.google.com/maps/place/-27.35735,153.026733306/@-27.35735,153.026733306,20z
58 |  | IMG_6644.JPG | B |  | General | Internal | Reception | NA | Rare | Minor | Low |  | GF | -27.3574 | 153.0268 | https://www.google.com/maps/place/-27.35735,153.026763861/@-27.35735,153.026763861,20z
59 |  | IMG_6645.JPG | B |  | General | Internal | Reception | NA | Rare | Minor | Low |  | GF | -27.3573 | 153.0269 | https://www.google.com/maps/place/-27.3573333056,153.026869417/@-27.3573333056,153.026869417,20z
60 |  | IMG_6646.JPG | B |  | Carpet Tiles | Internal | Reception | Throughout Offices | Rare | Minor | Low |  | GF | -27.3573 | 153.0269 | https://www.google.com/maps/place/-27.3573111111,153.026886111/@-27.3573111111,153.026886111,20z
61 |  | IMG_6647.JPG | B |  | Suspended Ceiling | Internal | Reception | Throughout Offices | Rare | Minor | Low |  | GF | -27.3573 | 153.0269 | https://www.google.com/maps/place/-27.3573083056,153.026899972/@-27.3573083056,153.026899972,20z
62 |  | IMG_6648.JPG | B |  | General | Internal | Back office | NA | Rare | Minor | Low |  | GF | -27.3573 | 153.0269 | https://www.google.com/maps/place/-27.3572583333,153.026869417/@-27.3572583333,153.026869417,20z
63 |  | IMG_6649.JPG | B |  | General | Internal | Back office | NA | Rare | Minor | Low |  | GF | -27.3573 | 153.0269 | https://www.google.com/maps/place/-27.3573138889,153.026899972/@-27.3573138889,153.026899972,20z
64 |  | IMG_6650.JPG | B |  | General | Internal | Private office | NA | Rare | Minor | Low |  | GF | -27.3574 | 153.0269 | https://www.google.com/maps/place/-27.3573666667,153.026855556/@-27.3573666667,153.026855556,20z
65 |  | IMG_6651.JPG | B |  | General | Internal | Circulation | Rear exit to offices | Rare | Minor | Low |  | GF | -27.3573 | 153.0268 | https://www.google.com/maps/place/-27.3573333056,153.026824972/@-27.3573333056,153.026824972,20z
66 |  | IMG_6651.JPG | C | Investigate requirement | Exit Sign (with moving person) | Internal | Circulation | Rear exit to offices | Rare | Minor | Low | Investigate | GF | -27.3573 | 153.0268 | https://www.google.com/maps/place/-27.3573333056,153.026824972/@-27.3573333056,153.026824972,20z
67 |  | IMG_6651.JPG | B |  | Internal Glazing | Internal | NA | Throughout | Unlikely | Minor | Low |  | GF | -27.3573 | 153.0268 | https://www.google.com/maps/place/-27.3573333056,153.026824972/@-27.3573333056,153.026824972,20z
68 |  | IMG_6652.JPG | C | Minor staining to isolated tiles | Suspended Ceiling Tiles | Internal | Circulation | Throughout offices | Rare | Minor | Low | Investigate | GF | -27.3573 | 153.0269 | https://www.google.com/maps/place/-27.3573194444,153.026855556/@-27.3573194444,153.026855556,20z
69 |  | IMG_6653.JPG | B |  | General | Internal | Meeting Room | NA | Rare | Minor | Low |  | GF | -27.3574 | 153.0268 | https://www.google.com/maps/place/-27.3574305278,153.026808333/@-27.3574305278,153.026808333,20z
70 |  | IMG_6654.JPG | B |  | General | Internal | Meeting Room | NA | Rare | Minor | Low |  | GF | -27.3574 | 153.0268 | https://www.google.com/maps/place/-27.3573721944,153.026824972/@-27.3573721944,153.026824972,20z
71 |  | IMG_6655.JPG | B |  | General | Internal | Meeting Room | NA | Rare | Minor | Low |  | GF | -27.3574 | 153.0268 | https://www.google.com/maps/place/-27.3573638611,153.026824972/@-27.3573638611,153.026824972,20z
72 |  | IMG_6656.JPG | B |  | Internal Door | Internal | NA | Throughout | Rare | Minor | Low |  | GF | -27.3573 | 153.0269 | https://www.google.com/maps/place/-27.3573138889,153.026930528/@-27.3573138889,153.026930528,20z
73 |  | IMG_6657.JPG | B |  | General | Internal | Staff Room | NA | Rare | Minor | Low |  | GF | -27.3574 | 153.027 | https://www.google.com/maps/place/-27.3573610833,153.026991667/@-27.3573610833,153.026991667,20z
74 |  | IMG_6658.JPG | B |  | Kitchen | Internal | Staff Room | NA | Rare | Minor | Low |  | GF | -27.3574 | 153.027 | https://www.google.com/maps/place/-27.35735,153.02697775/@-27.35735,153.02697775,20z
75 |  | IMG_6659.JPG | B |  | Server Rack | Internal | Staff Room | NA | Rare | Minor | Low |  | GF | -27.3574 | 153.027 | https://www.google.com/maps/place/-27.3573944167,153.026961111/@-27.3573944167,153.026961111,20z
76 |  | IMG_6660.JPG | B |  | Kitchen | Internal | Staff Room | NA | Rare | Minor | Low |  | GF | -27.3575 | 153.027 | https://www.google.com/maps/place/-27.3574944167,153.02697775/@-27.3574944167,153.02697775,20z
77 |  | IMG_6661.JPG | B |  | Internal Door | Internal | Staff Toilets | NA | Rare | Minor | Low |  | GF | -27.3575 | 153.027 | https://www.google.com/maps/place/-27.3575138889,153.027008306/@-27.3575138889,153.027008306,20z
78 |  | IMG_6661.JPG | B |  | Ceramic Floor Tiles | Internal | NA | Throughout | Unlikely | Minor | Low |  | GF | -27.3575 | 153.027 | https://www.google.com/maps/place/-27.3575138889,153.027008306/@-27.3575138889,153.027008306,20z
79 |  | IMG_6662.JPG | B |  | Sanitary Ware Other | Internal | Staff Toilets | NA | Rare | Minor | Low |  | GF | -27.3575 | 153.027 | https://www.google.com/maps/place/-27.3574888889,153.026961111/@-27.3574888889,153.026961111,20z
80 |  | IMG_6662.JPG | B |  | Ceramic Wall Tiles | Internal | Staff Toilets | Throughout | Unlikely | Minor | Low |  | GF | -27.3575 | 153.027 | https://www.google.com/maps/place/-27.3574888889,153.026961111/@-27.3574888889,153.026961111,20z
81 |  | IMG_6663.JPG | B |  | Sanitary Ware Other | Internal | Staff Toilets | NA | Rare | Minor | Low |  | GF | -27.3574 | 153.027 | https://www.google.com/maps/place/-27.35737775,153.02697775/@-27.35737775,153.02697775,20z
82 |  | IMG_6664.JPG | B |  | Sanitary Ware Other | Internal | Staff Toilets | NA | Rare | Minor | Low |  | GF | -27.3574 | 153.027 | https://www.google.com/maps/place/-27.3573694167,153.027038861/@-27.3573694167,153.027038861,20z
83 |  | IMG_6665.JPG | B | Missing tile | Carpet Tiles | Internal | Staff Toilets | Under workstation adjacent staff room | Rare | Minor | Low | Replace | GF | -27.3573 | 153.027 | https://www.google.com/maps/place/-27.3573471944,153.026991667/@-27.3573471944,153.026991667,20z
Note on A1: Minor and quick formatting changes such as header colour and borders have been made after BC export
Note on B1: Inclusion of image thumbnails in the export is optional. Extremely time saving when a requirement or for an easy 'value add' proposition for your client
Note on O1: BC gets this data from image metadata - information already stored inside the image file
Note on C2: Images are hyperlinked to their corresponding file location using a basic macro